Introduction to Mineralogy 186-210A

Reading:	Chapter 3, pp. 147-148 [pp. 133-135]

- mineralogists deduced the relative unit lengths of the crystallographic axes by measuring the interfacial angles of the main forms (e.g. angle between (110) and (100) in an orthorhombic crystal). The diffraction of X-rays by crystals provided a first tool to measure directly the absolute interplanar distances.

Today, the complete description of a crystal structure includes:

- the dimensions of its unit cell (in Å = 10-10 m)

- the number of formula units per unit cell (Z)

- interaxial angles (is angle between axes b & c;  is angle between axes a & c;  is angle between axes a & b)

- the space group: type of unit cell, and combination of symmetry elements that repeat the atomic pattern within this cell

- the fractional coordinates of the smallest number of atoms/ions necessary to reproduce the whole structure

X-ray crystallography

Chapter 7, pp. 275-288 [Chapter 6, pp. 220-233]

1) The diffraction phenomenon

- visible light going through narrow slits is diffracted: constructive/destructive interference produce bright/dark fringes.

- this phenomenon occurs for any wave front that travels through apertures approaching the size of its wavelength

- X-rays (discovered in 1890s by Max von Roentgen) make the electrons in their path vibrate at the same frequency as the X-ray source and re-emit X-rays.

- the wavelength of X-rays is close to the spacing between atomic layers within minerals, resulting in diffraction

- 1912: Max von Laue (Germany) suggested that X-rays might be diffracted by X-rays. His students got their first diffraction pattern from ZnS (sphalerite). Von Laue derived complex equations relating the angles between the diffraction beams and the interatomic spacing.

2) X-ray diffraction experiments

A. Production of X-rays

- to generate X-rays from a cathode gun:

a. fast-moving electrons bombard a metallic target (Mo, Cu or Fe), transferring their kinetic energy;

b. some inner-shell electrons from the target are excited, jump to higher energy levels (i.e. in orbitals located farther away from the nucleus) for a short time;

c. when they fall back to lower evergy levels, they re-emit energy as photons. Each element produces a characteristic spectrum with a sharp absorption edge (this can be used for chemical analysis);

d. filter (e.g. Zr) lets through monochromatic X-rays (one wavelength)

B. Geometry of a diffraction experiment

- 1914: W.H. Bragg and W.H. Bragg (father & son, Great Britain) worked out the structure of halite NaCl and eventually derived Bragg's law, much simpler than Laue’s equations.

- they pointed out that the diffracted X-rays act as if they were reflected from planes within the crystal where their d-spacing and the angle of incidence produce a path difference equal to a whole number of wavelengths (1, 2, 3, etc.). This geometry leads to Bragg's law, relating inter-planar spacing (d), angle of incidence  (“theta”) and wavelength :

n = 2d sin

C. Diffraction methods

- beams diffracted by a given set of atomic planes can be recorded as spots on a film, or by an X-ray detector.

- position of beams is governed by Bragg’s law. Their intensity depends 1) the electronic density and 2) occurrence of atoms in specific (hkl) planes.

- single-crystal methods (Laue, precession methods): show symmetry axes, twinning, crystalline or amorphous state.

- space group can be told because a non-primitive lattice, as well as screw axes or glide planes produce additional lattice planes. Some diffraction peaks ("systematic absences") are then missing from the diffraction pattern.

- interplanar spacings can be calculated from Bragg’s law, knowing distance from crystal to detector/film, the X-ray wavelength and the position of diffracted beams.

- center of inversion is always added to the diffraction pattern,

so its absence must be confirmed by other clues: crystal forms, etch pits or striations, or detectable piezoelectricity.

- from intensities of a large number of diffracted beams, one can get a map of electronic density and individual atomic positions.

- X-ray diffraction produces an average image of the content of millions of unit cells but cannot identify defects (vacancies, interstitial atoms, dislocations).

- powder X-ray diffraction: a powdered specimen is used to record beams diffracted by crystallites in all possible orientations.

- intensity of beams depends both on type and number of atoms in a (hkl) plane but also how many planes are related by symmetry.

- powder diffraction data are not a chemical analysis but the three most intense peaks provide a fairly reliable "fingerprint". Nowadays, powder X-ray diffractometers use computer software to match the diffraction data to a database of known minerals.